MS-DIAL CONSOLE

LIPIDOMICS WORKFLOW

Technical Documentation and Reproducible Handover

Human Plasma  •  DDA  •  Positive and Negative Ionization

| Item | Verified setting |
| --- | --- |
| Workflow software | MS-DIAL Console |
| Installed version | 5.5.251021 |
| Input | mzML, MS1–MS2 |
| Data type | Human plasma lipidomics |
| Acquisition | DDA |
| Ionization | Positive and Negative; processed separately |
| Spectral library approach | MSP lipid spectral libraries |
| Validation sample | VZ0000099 |
| Post-processing | Python 3 summary script |

Prepared by Gayatri Samant

Bioinformatics – Lipidomics

# 1. Purpose and Scope

This document records the MS-DIAL Console workflow that was implemented and tested for untargeted human plasma lipidomics. It is intended as a technical handover and reproducibility document, covering installation, library setup, command-line execution, processing parameters, troubleshooting, result generation, and post-processing.

Scope: MS-DIAL Console processing and MS/MS-supported lipid annotation only.

Out of scope: LipidSearch, LIPID MAPS, LIPEA, and other unrelated lipidomics workflows are intentionally not included.

Interpretation: The VZ0000099 results are workflow-validation results. The annotations are putative MS/MS-supported annotations and are not presented as definitive structural identifications or biological conclusions.

# 2. Experimental and Computational Setup

| Parameter | Setting |
| --- | --- |
| Sample type | Human plasma |
| Instrument | Thermo Orbitrap Exploris 240 |
| Acquisition | Data-dependent acquisition (DDA) |
| Ionization | Positive and Negative |
| Mobile phase additive | 10 mM ammonium formate + 0.1% formic acid |
| Input format | mzML |
| MS levels | MS1–MS2 |
| Processing software | MS-DIAL Console |
| Annotation library | MSP lipid spectral library |
| Operating environment | Ubuntu/WSL |

# 3. End-to-End Workflow

The implemented workflow separates positive and negative ionization data so that polarity-specific adduct lists, libraries, and processing parameters can be applied independently.

Thermo RAW

|

v

ProteoWizard MSConvert

|

v

mzML (MS1-MS2)

|

+----+----+

|         |

v         v

Positive   Negative

ion mode   ion mode

|         |

v         v

MS-DIAL    MS-DIAL

Console    Console

|         |

v         v

Feature    Feature

detection  detection

|         |

v         v

MS/MS      MS/MS

annotation annotation

|         |

+----+----+

|

v

MS-DIAL output files

|

v

Python post-processing

|

v

Summary + MS/MS annotations

+ lipid-class distributions

# 4. MS-DIAL Console Installation and Verification

The MS-DIAL Console package used in the tested workflow was MSDIAL.console.v5.5.251021-linux-net8.zip. The extracted executable was MSDIALCUI.

cd ~/Lipidomics

unzip MSDIAL.console.v5.5.251021-linux-net8.zip

chmod +x MSDIALCUI

./MSDIALCUI --help

The installed console returned:

Msdial Console App Version 5.5.251021

Msdial Console App requires the following args:

MsdialConsoleApp.exe <analysisType> -i <input folder> -o <output folder> -m <method file> -p (option)

<analysisType> is one of gcms, lcms

<input folder> is the folder containing the files to be processed

<output folder> is the folder to save results

<method file> is a file holding processing properties

-p is an option to generate MTB file to be loaded in MSDIAL GUI application.

Version verification: The installed executable, not the current MS-DIAL website release, is the version documented here: 5.5.251021.

# 5. Spectral Library Setup

Three library files were present in the MS-DIAL working directory. The MSP files were used for the final validated workflow. An LBM2 library was also tested during workflow development but was not retained as the final library route because the LBM2 loading step produced a MessagePack format error.

| Library | Observed size | Workflow status |
| --- | --- | --- |
| MSDIAL-InsilicoMSMS-Lipids-Pos.msp | 70 MB | Used for positive-mode MSP annotation |
| MSDIAL-InsilicoMSMS-Lipids-Neg.msp | 177 MB | Used for negative-mode MSP annotation |
| LipidMsmsBinaryDB-VS68-FiehnO.lbm2 | 121 MB | Tested; MessagePack loading error; not final |

Library presence can be checked with:

ls -lh ~/Lipidomics/*.msp ~/Lipidomics/*.lbm2

The final parameter files point to the polarity-specific MSP libraries:

/home/shobita/Lipidomics/MSDIAL-InsilicoMSMS-Lipids-Pos.msp

/home/shobita/Lipidomics/MSDIAL-InsilicoMSMS-Lipids-Neg.msp

# 6. Project and Data Organization

~/Lipidomics/

+-- MSDIALCUI

+-- MSDIAL-InsilicoMSMS-Lipids-Pos.msp

+-- MSDIAL-InsilicoMSMS-Lipids-Neg.msp

+-- LipidMsmsBinaryDB-VS68-FiehnO.lbm2

+-- param_pos.txt

+-- data/

|   +-- mzml_pos/

|   +-- mzml_neg/

+-- results_pos/

+-- project/

+-- data/

+-- docs/

+-- libraries/

+-- parameters/

+-- results/

+-- scripts/

The Git-based project separates input mzML files, documentation, parameter files, results, and scripts. Large raw/mzML files, spectral libraries, and generated MS-DIAL files are excluded from version control.

# 7. MS-DIAL Parameter Configuration

## 7.1 Positive mode

| Parameter | Value |
| --- | --- |
| Data type | Centroid |
| Ion mode | Positive |
| Target omics | Lipidomics |
| Ionization | ESI |
| MS1 tolerance | 0.01 |
| MS2 tolerance | 0.025 |
| Adducts | [M+H]+, [M+NH4]+, [M+Na]+, [M+H-H2O]+ |
| MSP library | MSDIAL-InsilicoMSMS-Lipids-Pos.msp |
| Identification cut-off (basic method file) | 80 |
| Minimum peak height | 300 |
| Minimum peak width | 5 |
| Average peak width | 30 |
| Mass slice width | 0.05 |
| RT range | 0–100 min |
| MS1/MS2 mass range | 0–2000 |
| Maximum charge | 2 |
| Maximum isotopes | 2 |
| Smoothing | 3 |
| Deconvolution sigma | 0.5 |
| Threads | 20 |
| Solvent | HCOONH4 |

## 7.2 Negative mode

| Parameter | Value |
| --- | --- |
| Data type | Centroid |
| Ion mode | Negative |
| Target omics | Lipidomics |
| Ionization | ESI |
| MS1 tolerance | 0.01 |
| MS2 tolerance | 0.025 |
| Adducts | [M-H]-, [M+HCOO]- |
| MSP library | MSDIAL-InsilicoMSMS-Lipids-Neg.msp |
| Minimum peak height | 300 |
| Minimum peak width | 5 |
| Average peak width | 30 |
| Mass slice width | 0.05 |
| RT range | 0–100 min |
| MS1/MS2 mass range | 0–2000 |
| Maximum charge | 2 |
| Maximum isotopes | 2 |
| Smoothing | 3 |
| Deconvolution sigma | 0.5 |
| Threads | 20 |
| Solvent | HCOONH4 |

The detailed final parameter files are retained separately in the project repository as msdial5_lipidomics_POS_MSP.txt and msdial5_lipidomics_NEG_MSP.txt. They contain the complete searched lipid-class lists and additional annotation/alignment/filtering settings.

# 8. Command-Line Execution

The actual command history shows an initial attempt using lcmsdda, followed by the final lcms command supported by the installed console.

./MsdialConsoleApp lcmsdda -i ./data/mzml_pos/ -o ./results_pos/ -m param_pos.txt -p

chmod +x MSDIALCUI

./MSDIALCUI lcmsdda -i ./data/mzml_pos/ -o ./results_pos/ -m param_pos.txt -p

./MSDIALCUI lcms -i ./data/mzml_pos/ -o ./results_pos/ -m param_pos.txt -p

The installed --help output verifies lcms as a supported analysis type. The final organized project is designed to process positive and negative inputs separately.

# Positive mode

cd ~/Lipidomics

./MSDIALCUI lcms -i ./data/mzml_pos/ -o ./results_pos/ -m param_pos.txt -p

# Negative mode: use the negative-mode method file and negative input/output directories

./MSDIALCUI lcms -i ./data/mzml_neg/ -o ./results_neg/ -m param_neg.txt -p

Important: The positive command above is the command explicitly recorded in the command history. The negative command follows the same verified console syntax with polarity-specific input, output, and method files.

# 9. mzML Input Verification and Troubleshooting

During workflow development, the mzML files were inspected from the Ubuntu environment. The command history records checks of spectrum counts, MS-level annotations, and positive/negative scan descriptors, as well as extraction of a single scan with MSConvert.

grep -m1 -A1 "spectrumList count" NewTrialMay19_MZML/VZ0000162_PL_Pos.mzML

grep -m1 -A1 "spectrumList count" NewTrialMay19_MZML/VZ0000162_PL_Neg.mzML

grep -i "centroid spectrum" NewTrialMay19_MZML/VZ0000162_PL_Pos.mzML | head

grep -i "profile spectrum" NewTrialMay19_MZML/VZ0000162_PL_Pos.mzML | head

grep 'name="ms level"' NewTrialMay19_MZML/VZ0000162_PL_Pos.mzML | head

grep 'value="2"' NewTrialMay19_MZML/VZ0000162_PL_Pos.mzML | wc -l

grep "<spectrum " NewTrialMay19_MZML/VZ0000162_PL_Pos.mzML | wc -l

msconvert NewTrialMay19_MZML/VZ0000162_PL_Pos.mzML --filter "scanNumber [1 1]" --64 --outfile spectrum.txt

Purpose of checks: These checks were used to verify the mzML structure and MS-level content when diagnosing processing/annotation behavior.

# 10. MS-DIAL Output Files

The validated run produced standard MS-DIAL project/result files, including mdproject, mdpeak, mdmsp, alignment-related files, and mzTabM output. The organized project then used the .mdpeak files as the source for Python-based summary generation.

| Output type | Purpose |
| --- | --- |
| .mdproject | MS-DIAL project information |
| .mdpeak | Peak/feature table used for downstream summary extraction |
| .mdmsp | MS/MS spectral information |
| .mdalign | Alignment result file when generated |
| .mzTabM | Molecular feature/metabolomics result export |
| TSV summary files | Human-readable post-processing summaries |

# 11. Python Post-Processing

The script summarize_msdial.py reads polarity-specific .mdpeak files and generates three types of summaries: sample-level feature/matching statistics, MS/MS-supported annotation tables, and lipid-class distributions.

## 11.1 Logic

For each .mdpeak file:

1. Count all features.

2. Count rows where "m/z matched" == True.

3. Count rows where "MS/MS matched" == True.

4. Count rows where both are True.

5. For rows with both matches, extract annotation fields.

6. Extract the first ontology component as the lipid class.

7. Write sample-level and lipid-class TSV files.

## 11.2 Output locations

~/Lipidomics/project/results_summary/

MSDIAL_sample_summary.tsv

MSDIAL_MSMS_annotations.tsv

<sample>_lipid_classes.tsv

Important implementation detail: The script only adds a feature to the MS/MS annotation table when both m/z matching and MS/MS matching are True.

# 12. Validation Results — VZ0000099

| Polarity | Total features | m/z matched | MS/MS matched | Both matched | m/z match % | MS/MS match % |
| --- | --- | --- | --- | --- | --- | --- |
| Positive | 13,032 | 2,499 | 472 | 472 | 19.18% | 3.62% |
| Negative | 16,036 | 3,254 | 248 | 248 | 20.29% | 1.55% |

The equality of the MS/MS-matched and m/z + MS/MS-matched counts reflects the post-processing logic and the observed result table: the MS/MS-supported entries retained for annotation were also m/z matched.

# 13. Lipid-Class Distribution

## 13.1 Positive ionization

| Lipid class | MS/MS-supported annotations |
| --- | --- |
| TAG | 131 |
| EtherPC | 106 |
| PC | 100 |
| SM | 73 |
| LPC | 19 |
| ACar | 15 |
| GlcCer_NS | 6 |
| CE | 6 |
| EtherPE | 5 |
| Cer_NS | 5 |
| DAG | 4 |
| MAG | 1 |
| PE | 1 |

## 13.2 Negative ionization

| Lipid class | MS/MS-supported annotations |
| --- | --- |
| SM | 66 |
| PC | 66 |
| EtherPC | 34 |
| PI | 15 |
| LPC | 12 |
| AcylGlcADG | 10 |
| GlcCer_NS | 10 |
| GM3 | 9 |
| EtherPE | 7 |
| LPE | 6 |
| GlcCer_AP | 4 |
| PE | 3 |
| LPI | 2 |
| Cer_NP | 2 |
| FA | 1 |
| Cer_AS | 1 |

These counts represent MS/MS-supported annotation records, not necessarily unique molecular species. They should therefore be used as a workflow summary rather than as a quantitative biological abundance result.

# 14. Annotation Evidence and Interpretation

The annotation table retains the evidence fields available from the MS-DIAL .mdpeak output, including lipid name, retention time, precursor m/z, height, area, adduct, formula, ontology, InChIKey, annotation tag, matching flags, dot-product scores, matched peak count/percentage, total score, and signal-to-noise ratio.

Reporting level: Annotations are reported as putative MS/MS-supported lipid annotations.

Biological interpretation: No case/control comparison, p-value analysis, FDR analysis, or pathway-enrichment conclusion is part of this validation workflow.

# 15. Reproducibility and Repository Structure

The organized project contains:

project/

+-- data/

|   +-- mzml_pos/

|   +-- mzml_neg/

|   +-- README.md

+-- docs/

|   +-- MSDIAL_Console_Lipidomics_Workflow_VZ0000099.md

+-- libraries/

|   +-- README.md

+-- parameters/

|   +-- msdial5_lipidomics_POS_MSP.txt

|   +-- msdial5_lipidomics_NEG_MSP.txt

+-- results/

|   +-- MSDIAL_MSMS_annotations.tsv

|   +-- MSDIAL_sample_summary.tsv

|   +-- VZ0000099_PL_Neg_lipid_classes.tsv

|   +-- VZ0000099_PL_Pos_lipid_classes.tsv

+-- scripts/

|   +-- summarize_msdial.py

+-- .gitignore

+-- README.md

Large raw data, mzML files, spectral libraries, and generated MS-DIAL files are excluded from the repository. The parameter files and post-processing script are retained so that the workflow can be reproduced and later automated.

# 16. Troubleshooting Record

| Issue / observation | Action or resolution |
| --- | --- |
| Console executable required execution permission | Used chmod +x MSDIALCUI. |
| Initial lcmsdda command was attempted | The installed --help output showed supported analysis types as gcms and lcms; final command used lcms. |
| Need to verify mzML structure | Used grep checks for spectrum count, MS level, centroid/profile descriptors, and scan counts. |
| LBM2 library loading produced MessagePack format error | LBM2 route was not used in the final validated workflow; MSP libraries were used instead. |
| Need reproducible result summaries | Created summarize_msdial.py to extract matching statistics, annotations, and lipid-class counts from .mdpeak files. |

# 17. Final Reproducible Workflow

For a new sample, the intended reproducible sequence is:

- Convert Thermo RAW to mzML containing the required MS1–MS2 data.

- Place positive and negative mzML files in separate input directories.

- Confirm the MS-DIAL Console executable and version with ./MSDIALCUI --help.

- Confirm that the polarity-specific MSP library is available.

- Use the polarity-specific MS-DIAL method file.

- Run positive and negative modes separately with the MS-DIAL lcms console command.

- Inspect the resulting .mdpeak/.mdmsp/.mdproject outputs.

- Run summarize_msdial.py on the resulting .mdpeak files.

- Review sample-level matching statistics and lipid-class summaries.

- Treat annotations as putative MS/MS-supported annotations unless additional orthogonal evidence is available.

# 18. Future Development

The project README identifies the following future extensions:

- Processing multiple patient samples

- Automated batch processing

- Population-level lipidomics analysis

- Quality-control reporting

- Statistical analysis across sample groups

- Pathway/enrichment analysis when an appropriate comparison design is available

- Nextflow workflow implementation

# Appendix A — Key Commands

# Enter MS-DIAL working directory

cd ~/Lipidomics

# Install/extract

unzip MSDIAL.console.v5.5.251021-linux-net8.zip

# Make executable

chmod +x MSDIALCUI

# Verify installation

./MSDIALCUI --help

# Check spectral libraries

ls -lh ~/Lipidomics/*.msp ~/Lipidomics/*.lbm2

# Positive-mode run

./MSDIALCUI lcms -i ./data/mzml_pos/ -o ./results_pos/ -m param_pos.txt -p

# Example mzML checks

grep -m1 -A1 "spectrumList count" <file>.mzML

grep 'name="ms level"' <file>.mzML | head

grep 'value="2"' <file>.mzML | wc -l

grep "<spectrum " <file>.mzML | wc -l

# Appendix B — Key Files

| File | Function |
| --- | --- |
| MSDIALCUI | MS-DIAL Console executable |
| MSDIAL-InsilicoMSMS-Lipids-Pos.msp | Positive-mode lipid MSP library |
| MSDIAL-InsilicoMSMS-Lipids-Neg.msp | Negative-mode lipid MSP library |
| param_pos.txt | Positive-mode method file used in the recorded run |
| msdial5_lipidomics_POS_MSP.txt | Organized positive-mode parameter file |
| msdial5_lipidomics_NEG_MSP.txt | Organized negative-mode parameter file |
| summarize_msdial.py | Post-processing and summary-generation script |
| MSDIAL_sample_summary.tsv | Sample-level feature/matching summary |
| MSDIAL_MSMS_annotations.tsv | MS/MS-supported annotation table |

# Appendix C — Technical Notes

The basic positive parameter file recorded an identification cut-off of 80, while the detailed MSP annotation settings use explicit matching tolerances and scoring parameters. For reproducibility, the full parameter files should be treated as the authoritative configuration rather than manually re-entering individual settings.

The workflow deliberately keeps positive and negative modes separate. This avoids mixing polarity-specific adduct definitions and spectral libraries and makes the workflow suitable for later automation.